## E&S_RECORD_CARD
ENERGY & SUSTAINABILITY RECORD CARD
Building: | TEMF |  |  | SF: | 9000 | RPUID: | 88888
Project/PA: | STRYKER |  |  | PA($000): | 5,400 | Project #: | 77777
Installation: | Ft. Lewis - Tacoma, fa, |  |  |  |  | FY: | FY12
Brief Building Description / Special Energy & Sustainability Highlights:
A really fantastic building
DASHBOARD
COMPLIANCE DASHBOARD
EPAct 2005: | 1 | 85%
EISA 2007: | 1 | Certification
Low Impact: | 0.3 | Silver
I: | 1 | LEED v3
II: | 0.2 | 70%
III: | 0 | Legend:
IV: | 0.11111 | 1
V: | 0 | 0.7
GP OVERALL: | 0.26222 | 0.05
PERFORMANCE DATA & STATISTICS
Site Energy Intensity (kBTU/SF) |  |  | Total Site Energy Savings vs. Baseline: | Annual Energy Usage (kBTU)
Target (12% Savings): |  | 25.0224 | 53% Savings from 90.1-2010 | % | Baseline | Model | Actual
as Designed: |  | 22.7476 | (51,182 kBTU/yr) | Annual Energy Demand:
Actual: |  | 0 | Renewable Energy Production: | 100% | 255910.5867 | 204728.4694 | 0
|  |  | 41% of Total Energy Demand | Fossil-Fuel Derived Energy Consumption:
|  |  | 83,243 kBTU produced per year | 100% | 255910.5867 | 204728.4694 | 0
|  |  | Water Savings vs. Baseline: | Net Renewable Energy Used On-Site:
|  |  | 25% Savings from IPC 2006 | 0% | 0 | 83242.8231 | 0
Water Intensity (Gal/SF) |  |  | 5,000 gallons/yr
Target (20%): |  | 2.2222 | Total Waste Diversion
as Designed: |  | 1.6667 | 93.64%
Actual: |  | 0 | 986 tons
POC: Name, Symbol Phone: 800-555-1224 eMail: POC.Name@USACE.Army.Mil | [6 empty] | 0
ENERGY & SUSTAINABILITY RECORD CARD Ξ Version 1.0 | [6 empty] | CARD FORMAT POC: ERIC.MUCKLOW@US.ARMY.MIL
IGNORE THIS SECTION: Math formulas for charts above
Energy
Pie Slices
Use Reduction | 51182.1173 |  | 15.09%
Net Utilities | 204728.4694 |  | 60.36%
Renewable | 83242.8231 |  | 24.54%
| 339153.4099 |  | 100%
Water Chart
Pie Slices
Net Utility | 15000 |  | 75%
Harvested On-Site | 0 |  | 0%
Use Reduction | 5000 |  | 25%
| 20000 |  | 100%
Waste Chart
Pie Slices
Disposed | 0 |  | 6.363%
Diverted | 0 |  | 93.64%
Avoided | 0 |  | #DIV/0!
| 0 |  | #DIV/0!
85%-100%
70%-85%
< 80%
High Performance
Sustainable Buildings Guiding Principles
Note on D11: Amber/Green Threashold Percentage for Icons
Note on D15: Red/Amber Threshold Percentage for Icons
Note on C19: GREEN indicates facility is compliant when determining Sustainability Code for Block 14 of Form 1354.
Note on D26: EO 13423: Reduce GHG energy intensity by 30% from CBECS 2003 baseline. [§2(a)]

## Building_Data
Building: | TEMF | RPUID: | 88888 | CertificationVersion: | LEED v3
Project: | STRYKER | Project #: | 77777 | Level Received: | Silver
Installation: | Ft. Lewis | FY: | FY12 | Reg. Number: | 1111111
City: | Tacoma | State: | fa | Country:
| Square Footage: | 9000 | PA($000): | 5400
| Cell Color Key: | Grey - Not applicable filler; no input
| Blue - Calculated/auto-filled from elsewhere; no user input | Green - User data input
| Enter a brief description and Special Energy and Sustainability highlights: | A really fantastic building
ANNUAL ENERGY DEMAND
| Sum of all Sources Below: | 255910.5867 | 204728.4694 | 0
| Sum of Renewable Energy: | 0 | 83242.8231 | 0
| Target Savings from 90.1-2010: | 12% | 52.53% | 100%
ANNUAL ENERGY CONSUMPTION BY SOURCE
| Annual Fossil-Fuel Energy Usage | 90.1-2010 | Design | Metered
|  | Baseline | Model | Actual
| Total Electric Consumption from Grid (kWh) | 100000 | 80000
| % of above from fossil-fuel sources | 75% | 75% | 75%
| = above kWh converted to kBTU: | 255910.5867 | 204728.4694 | 0
Natural Gas (kBTU)
Propane (kBTU)
Steam/HW - Fossil-fuel Boiler Plant (kBTU)
Fuel Oil (kBTU)
Coal (kBTU)
Other Fossil Fuels (kBTU)
| Total Annual Fossil-Fuel Usage in kBTU: | 255910.5867 | 204728.4694 | 0
| Site Fossil Fuel Reduction: |  | 20% | 100%
ANNUAL ENERGY HARVEST
On-Site, on the Installation, on Federal lands, or on Native American lands)
|  | Baseline | Model | Actual
| Sun - Electric/Photovoltaic (kWh) | 0 | 20000
| = converted to kBTU: | 0 | 68242.8231 | 0
| Wind - Electric (kWh) | 0
| = converted to kBTU: | 0 | 0 | 0
| Water (Hydro/Ocean) - Electric (kWh) | 0
| = converted to kBTU: | 0 | 0 | 0
| Waste (MSW/Landfill/Septic gas) (kWh) | 0
| = converted to kBTU: | 0 | 0 | 0
| Geothermal Electric (Not GSHP) (kWh) | 0
| = converted to kBTU: | 0 | 0 | 0
| Biomass/Biogas (kWh) | 0
| = converted to kBTU: | 0 | 0 | 0
| Total On-site Renewable Electric: | 0 | 68242.8231 | 0
Non-Electric Renewable Energy (kBTU)
| Solar Water Heating (Baseline=30% HW Demand) |  | 15000
Air Heating (e.g. Transpired Panels)
Renewable Steam/Radiant HW Systems
Ground Source Heat Pump/Geothermal
Mechanical (e.g. Wind-driven Pump)
Other Renewable Non-electric Energy
| Annual Total Production/Offset: | 0 | 15000 | 0
| Annual Renewable Energy Produced: | 0 | 83242.8231 | 0
| Net Renewable Energy Used On-Site: | 0 | 83242.8231 | 0
| Gross Percentage of Annual Demand: | 0% | 40.66% | #DIV/0!
WATER
| Water Demand in Gallons Baseline: | IPC 2006 | Design | Actual
| Domestic Water | 20000 | 15000
Process Water
| Total Annual Usage in Gallons: | 20000 | 15000 | 0
Grey Water Harvesting Systems (Gallons)
Condinsate Water Capture
Rainwater Harvesting
[fill-in type here]
[fill-in type here]
| Annual Total Production/Offset: | 0 | 0 | 0
Non-building usage deduction:
| Net Water Usage | 20000 | 15000 | 0
| Net Savings Target: | 20% | 25% | 100%
RECYCLED MATERIALS and WASTE DIVERSION
| Units: | Tons
|  | Target | Current | Actual
| Waste Creation Avoided: | 0 | 0 | 0
| Waste Recycled/Diverted: |  |  | 986
| Waste Disposed of to Landfill: |  |  | 67
| Percent of Waste Diverted |  |  | 93.64%
| Name, Symbol | 800-555-1224 | POC.Name@USACE.Army.Mil
| Color Key: | Grey - Not applicable filler; no input
| Blue - Calculated/auto-filled from another tab; no input | Green - Data input cells
Version M04.24
Note on B34: Eric Mucklow: (EPAct 2005 establishes a bonus for Federal agencies if renewable electricity is produced on-site at a Federal facility, on Federal lands, or on Native American lands.)
Note on B36: Show electricity produced by PV, CSP, Stirling Engines, etc. but not water or air heating or steam use. (see below for the latter)
Note on B40: Eric Mucklow: EPAct 2005 Section 203 defines renewable ocean energy as electricity generated using tidal, wave, current, and thermal energy. Hydro must be new hydroelectric generation capacity achieved from increased efficiency or additions of new capacity at an existing hydroelectric project.
Note on B44: Eric Mucklow: Geothermal Electric uses the heat from deep in the earth to generate electricity and does not include thermal storage or extraction such as Ground Source Heat Pumps (GSHP) or DX systems
Note on B46: Eric Mucklow: May include wood chips, corn, grapeseed, grass, algae gas, algae biodiesel, etc.
Note on B48: Eric Mucklow: EPAct 2005 Section 203 defines "renewable energy" as electric energy generated from solar, wind, biomass, landfill gas, ocean (including tidal, wave, current, and thermal), geothermal, municipal solid waste, or new hydroelectric generation capacity achieved from increased efficiency or additions of new capacity at an existing hydroelectric project.

## Mandates_Worksheet
| Energy & Sustainability Mandates Worksheet |  |  |  | DRAFT
Significant Legislative Requirements
Does not include mandates prior to 2005 or those that are generally met
|  |  |  | = Delayed =Not Addressed = In Planning = In Development = In Implementation = Incorporated | = Delayed =Not Addressed = In Planning = In Development = In Implementation = Incorporated
Topic | August 2005: EPAct 2005 | January 2007: EO 13423 | December 2007: EISA 2007 | October 2009: EO 13514 | October 2009: NDAA 2010 | HPSB Guilding Principles
Building Energy Intensity (Gross) |  | Reduce building energy intensity 3% annually through FY 2015, or 30% total reduction by FY 2015 (baseline FY 2003). [§2(a)] | Reduce building energy intensity 3% annually through 2015, or 30% total reduction by 2015 (baseline 2003) [§431] | Reduce energy intensity in buildings to achieve GHG reductions. [§2(a)(i)]
Qualitative Compliance: |  | 100% | 100% | 100% |  | 100%
Energy Efficiency in New Construction and Major Renovations | Achieve energy performance 30% beyond ASHRAE 90.1-2007. [§109] |  | New Federal buildings and Federal buildings undergoing major renovations shall reduce their fossil fuel-generated energy (baseline 2003) consumption by: [§433] | Achieve by 2030 zero-net-energy* in buildings entering the planning process after 2020. [§2(g)(i), see also EISA §433]
|  |  | - 55% by 2010 - 65% by 2015 - 80% by 2020 - 90% by 2025 - 100% by 2030 | Minimize consumption of energy... through cost-effective, innovative strategies, such as highly reflective and vegetated roofs. [§2(g)(iv)]
(* a "zero-net-energy building" meets its of energy needs from sources of energy that do not produce greenhouse gases (GHG), and therefore result in no net emissions of GHG)
Qualitative Compliance: | 100% |  |  | 100% |  | 100%
Renewable Energy Generation | Double count renewable energy produced on Federal or Indian lands and used on-site at Federal facilities [§203]. Requires the installation of 20,000 solar energy systems in Federal buildings by 2010 [§204] | Implement new renewable energy generation projects on agency property for agency use. [§2(b)] |  | Implement renewable energy generation projects on agency property. [§2(a)(ii)] | 25% by 2025
Qualitative Compliance: | 100% | 100% |  | 100%
Renewable Energy Usage | Defines “renewable energy.” Increase renewables 3% in FY2007-2009; [§203] | Ensure that 50% of statutorily required renewables comes from post-1999 sources. [§2(b)] | 30% of hot water demand in new Federal buildings and major renovations must be met with solar hot water if life-cycle cost effective [§523] | Increase use of renewable energy. [§2(a)(ii)] | Encourages 25% of Energy from Renewable Sources by 2025.
| - Increasing to 5% in FY 2010-2012. | {How can this be tracked?}
- Increasing to 7.5% in FY 2013 & on.
Status: | 100% | 100% |  | 100% |  | 100%
Fleet Vehicle Support |  | Use plug-in hybrids when available at a life-cycle cost reasonably comparable to non-PIH vehicles. [§2(g)] (=new electrical service requirement) | Install at least one renewable fuel pump at each Federal fleet fueling center by 2010 [§246]
Qualitative Compliance: |  | 100% | 100% |  |  | 100%
High Performance Sustainable Buildings | Includes application of sustainable design principles for new buildings [§109]. | Ensure all new agency construction and renovation complies with the Guiding Principles. [§2(f)] | Requires sustainable design principles be applied to the siting, design, and construction of buildings subject to the standards [§433] | Ensure all new construction, major renovation, or repair and alteration complies with the Guiding Principles. [§2(g)(ii)]
|  | Ensure 15% of existing Federal building inventory incorporate the Guiding Principles by 2015. [§2(f)] | Ensure major replacements of installed equipment, renovation, or expansion of existing space employ the most energy-efficient designs, systems, equipment, and controls life-cycle cost effective [§434] | Ensure 15% of existing facilities and building leases (above 5,000 gross square feet) meet the Guiding Principles by FY 2015. [§2(g)(iii)]
|  |  | As of December 19, 2010, Federal agencies are prohibited from leasing buildings that have not earned the ENERGY STAR label (some exemptions apply) [§435] | Make annual progress towards 100% conformance with the Guiding Principles. [§2(g)(iii)]
Qualitative Compliance: | 100% | 13.79% | 100% | 13.79% |  | 100%
Advanced Metering and Measurement | Federal buildings must be metered by October 1, 2012 with data provided at least daily and electricity consumption measured hourly [§103]. |  | Identify “covered facilities” constituting at least 75% of the agency’s facility energy use. Each covered facility must have an energy manager designated and meet additional requirements. Energy and water evaluations must be completed every 4 years for each facility. Facility energy managers are also responsible for commissioning equipment and establishing O&M plans for measuring, verifying, and reporting energy and water savings [§432]. |  | [§2841] Adoption of Department-wide, Open Protocol energy monitoring and utility control system specification for military construction and military family housing activities. Shall Cover: - Utilities & Energy usage - Indoor environments - HVAC - Central plant equip. - Renewable energy
By October 16, 2016, each agency shall provide for equivalent metering of natural gas and steam [§434(b)].
Status: | 100% |  | 100% |  | 1 | 100%
Building Management |  |  |  | Manage existing building systems to reduce consumption of energy.... [§2(g)(v)] | [§332] Extension and Expansion of Reporting Requirements Regarding Department of Energy Efficiency Programs
Qualitative Compliance: |  |  |  | 100%
Products and Equipment | Requires Federal agencies to incorporate energy efficiency criteria consistent with ENERGY STAR and FEMP-designated products for all procurements involving energy-consuming products and services [§104]. | Purchase products that are: - Recycled, - Biopreferred - ENERGY STAR - FEMP-designated - EPEAT - WaterSense (and other water-efficient) [§2(d)] | Encourages agencies to minimize standby energy use in purchases of energy-using equipment. [§524] Requires procurement to focus on ENERGY STAR and FEMP-designated products [§525]. | Ensure 95% of new contract actions for products and services are: - Energy efficient - Water efficient - Biobased-content - Environmentally preferable - Non-ozone depleting, - Recycled-content - Non-toxic or less-toxic than alternatives [§2(h)(i)]
(Also note that Direct Digital Control (DDC) is required when upgrading, retrofitting or replacing HVAC systems per FAR part 23.)
Qualitative Compliance: | 100% | 100% | 100% | 100% |  | 100%
Support for Local Communities |  |  |  | Align Federal policies to increase the effectiveness of local planning for energy choices such as locally-generated renewable energy. [§2(f)(ii)]
Identify and analyze impacts from energy use and alternative energy sources in EAs and EISs for new or expanded facilities. [§2(f)(iv)]
Qualitative Compliance: |  |  |  | 100%
Overall Rating: | 100% | 85.63% | 100% | 89.22% | 100% | 100%
?
Note on B10: Eric Mucklow: EPAct 2005 originally referenced 90.1-2004, but was later revised to 90.1-2007

## HPSB_Guiding_Principles_Wksht
High Performance Sustainabile Buildings - Guilding Principles Compliance Worksheet
Element Color Coding:
Entry/Drop-Down Box Selection |  |  | Compliance Indications:
Data-Entry Subquestions |  |  | Yes - Compliant with Element
No Entry |  |  | Maybe - Possible Compliance
Not Required |  |  | No - Not Compliant with Element
Federal Requirements for High Performance Sustainable Buildings (HPSB)
HPSB I: Employ Integrated Design Principles
Achievable Points | 2 |  |  | Possible Points | 2
Yes | HPSB I.1 |  | Integrated Design |  | 1 | Federal Requirements
Yes | HPSB I.2 |  | Commissioning |  | 1 | Federal Requirements
HPSB II: Optimize Energy Performance
Achievable Points | 1 |  |  | Possible Points | 5
| HPSB II.1 |  | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage |  | 1 | Federal Requirements
| 1 |  |  | Reduce energy use 30% Below ANSI/ASHRAE/IESNA Standard 90.1- 2007, OR |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
| 2 | 2 |  | If not at least 30% below ANSI/ASHRAE/IESNA Standard 90.1- 2007, will the design achieve the maximum level of energy efficiency that is life-cycle cost-effective? |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Insert percentage below ANSI/ASHRAE/IESNA Standard 90.1-2007 in terms of energy use (e.g. 32) |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Insert building energy intensity (Btu/SF) calculated with the energy model per 10 CFR 433 |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Roof Attributes (Recommended) |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Cool roof (LEED SS cr 7.2 or Energy Star) |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Green roof |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Solar electric |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Solar thermal |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Solar passive |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
|  |  |  | Achieve "Designed to Earn the Energy Star" rating - Benchmark from first year of operation (Recommended) |  | Federal Requirements | Energy Efficiency, Achieve Option 1 or 2 and insert design percentage | HPSB II.1
Yes | HPSB II.2 |  | Preferential use of ENERGY STAR or FEMP-designated equipment, when lifecycle cost effective |  | 1 | Federal Requirements
| HPSB II.3 |  | On-site Renewable Energy - Solar Hot Water Heater System |  | 1 | Federal Requirements
|  |  |  | Lifecycle cost assessment found solar hot water heater system not effective |  | Federal Requirements | On-site Renewable Energy - Solar Hot Water Heater System | HPSB II.3
|  |  |  | When lifecycle cost effective, solar hot water system installed - min 30% demand |  | Federal Requirements | On-site Renewable Energy - Solar Hot Water Heater System | HPSB II.3
|  |  |  | Insert percentage achieved |  | Federal Requirements | On-site Renewable Energy - Solar Hot Water Heater System | HPSB II.3
| HPSB II.4 |  | On-site Renewable Energy |  | 1 | Federal Requirements
|  |  |  | Lifecycle cost assessment found renewable energy generation projects not effective |  | Federal Requirements | On-site Renewable Energy | HPSB II.4
|  |  |  | When lifecycle cost effective, renewable energy generation projects installed |  | Federal Requirements | On-site Renewable Energy | HPSB II.4
|  |  |  | Renewable energy type |  | Federal Requirements | On-site Renewable Energy | HPSB II.4
Insert first renewable energy type, if applicable
Insert second renewable energy type, if applicable
|  |  |  | Insert generation capacity (kW) |  | Federal Requirements | On-site Renewable Energy | HPSB II.4
|  |  |  | Insert percentage of total building |  | Federal Requirements | On-site Renewable Energy | HPSB II.4
| HPSB II.5 |  | Measurement and Verification - Advanced Metering |  | 1 | Federal Requirements
|  |  |  | Water Metering: Select N/A if not used |  | Federal Requirements | Measurement and Verification - Advanced Metering | HPSB II.5
|  |  |  | Electric Metering: Select N/A if not used |  | Federal Requirements | Measurement and Verification - Advanced Metering | HPSB II.5
|  |  |  | Natural Gas Metering: Select N/A if not used |  | Federal Requirements | Measurement and Verification - Advanced Metering | HPSB II.5
|  |  |  | Steam Metering: Select N/A if not used |  | Federal Requirements | Measurement and Verification - Advanced Metering | HPSB II.5
| HPSB II.6 |  | Project Case Study Entered in High Performance Federal Buildings Database (Recommended) |  |  | Federal Requirements
| EISA 2007 II.7 |  | Reduction in fossil fuel-generated energy consumption (Recommended) |  |  | Federal Requirements
| EISA 2007 II.8 |  | Data Center Energy Consumption (Recommended) |  |  | Federal Requirements
HPSB III: Protect and Conserve Water
Achievable Points | 0 |  |  | Possible Points | 7
| HPSB III.1 |  | Indoor Water - 20% Reduction |  | 1 | Federal Requirements
|  |  |  | Insert percentage achieved |  | Federal Requirements | Indoor Water - 20% Reduction | HPSB III.1
| HPSB III.2 |  | Outdoor Water - Reduce Potable Water Use by 50% |  | 1 | Federal Requirements
| HPSB III.3 |  | Outdoor Water - Stormwater runoff |  | 1 | Federal Requirements
| HPSB III.4 |  | Outdoor Water - Achieve Pre-Development Hydrology when technically feasible, when disturbance > 5,000 GSF |  | 1 | Federal Requirements
|  |  |  | Insert cost to implement |  | Federal Requirements | Outdoor Water - Achieve Pre-Development Hydrology when technically feasible, when disturbance > 5,000 GSF | HPSB III.4
| HPSB III.5 |  | Process water potable water use |  | 1 | Federal Requirements
|  |  |  | Energy efficiency measures using water were considered and the cost was included in lifecycle cost assessment |  | Federal Requirements | Process water potable water use | HPSB III.5
|  |  |  | Energy efficiency measures using water were not considered for the design |  | Federal Requirements | Process water potable water use | HPSB III.5
| HPSB III.6 |  | Water-Efficient Products |  | 1 | Federal Requirements
No | HPSB III.7 |  | Water Efficient Products - Irrigation Contractors |  | 1 | Federal Requirements
HPSB IV: Enhance Indoor Environmental Quality
Achievable Points | 1 |  |  | Possible Points | 9
| HPSB IV.1 |  | Thermal Comfort, ASHRAE 55-2004 |  | 1 | Federal Requirements
| HPSB IV.2 |  | Ventilation: ASHRAE 62.1-2007 |  | 1 | Federal Requirements
Yes | HPSB IV.3 |  | Moisture Control |  | 1 | Federal Requirements
| HPSB IV.4 |  | Daylighting - 75% of Spaces |  | 1 | Federal Requirements
| HPSB IV.5 |  | Daylighting - Controllability of Systems |  | 1 | Federal Requirements
| HPSB IV.6 |  | Low Emitting Materials |  | 1 | Federal Requirements
| HPSB IV.7 |  | Protect Indoor Air Quality during Construction |  | 1 | Federal Requirements
| HPSB IV.8 |  | Protect Indoor Air Quality after Construction |  | 1 | Federal Requirements
| HPSB IV.9 |  | Environmental Tobacco Smoke (ETS) Control |  | 1 | Federal Requirements
HPSB V: Reduce Environmental Impact of Materials
Achievable Points | 0 |  |  | Possible Points | 6
| HPSB V.1 |  | Recycled Content |  | 1 | Federal Requirements
| HPSB V.2 |  | Biobased Content |  | 1 | Federal Requirements
| HPSB V.3 |  | Environmentally Preferable Products |  | 1 | Federal Requirements
| HPSB V.4 |  | Waste and Materials Management - Recycling |  | 1 | Federal Requirements
| HPSB V.5 |  | Waste and Materials Management - Divert 50% from Disposal |  | 1 | Federal Requirements
| HPSB V.6 |  | Ozone Depleting Compounds |  | 1 | Federal Requirements
HPSB Totals |  |  |  | Possible Points | 29
4 | Federal Requirements Achieved (29 line items) | [7 empty] | SurveyResult
0 | Federal Requirements Maybe Achieved | [7 empty] | SurveyResult
1 | Federal Requirements Not Achieved | [7 empty] | SurveyResult
13.79% | Overall Compliance with High Performance Sustainable Buildings (HPSB) Guiding Principles | [7 empty] | SurveyResult

## LEED_Worksheet
USGBC LEED |  |  | Yes | Pursuing formal LEED® Certification | [5 empty] | SurveyData
Certification Worksheet |  |  |  | Date Project Registered with USGBC (MM/DD/YY) | [5 empty] | SurveyData
|  |  | LEED® 3.0 NC | LEED® Rating System | [5 empty] | SurveyData
|  |  | 0 | LEED® Credits Achievable | [5 empty] | SurveyData
|  |  |  | LEED® Certification Level Achievable | [5 empty] | SurveyData
|  |  |  | LEED® Credits Awarded by GBCI (e.g. 42) | [5 empty] | SurveyData
|  |  | 0 | LEED® Energy and Water Credits Achievable | [5 empty] | SurveyData
Element Color Coding:
Entry/Drop-Down Box Selection |  |  | Compliance Indications:
Data-Entry Subquestions |  |  | Yes - Compliant with Element
No Entry |  |  | Maybe - Possible Compliance
Not Required |  |  | No - Not Compliant with Element
LEED® 3.0 NC Checklist
Text Color Codes: | LEED® Credits and/or Prerequisites that meet HPSB Requirements
LEED® Credits and/or Prerequisites that align closely with HPSB Requirements
LEED® Credits that meet Energy & Water Criteria (may depend on technologies & strategies)
Sustainable Sites
Achievable Points | 0 | Sustainable Sites |  | Possible Points | 26
| Prereq 1 |  | Construction Activity Pollution Prevention (HPSB GP3) |  | Required | Sustainable Sites
| Credit 1 |  | Site Selection |  | 1 | Sustainable Sites
| Credit 2 |  | Development Density & Community Connectivity |  | 5 | Sustainable Sites
| Credit 3 |  | Brownfield Redevelopment |  | 1 | Sustainable Sites
| Credit 4.1 |  | Alternative Transportation - Public Transportation Access |  | 6 | Sustainable Sites
| Credit 4.2 |  | Alternative Transportation - Bicycle Storage & Changing Rooms |  | 1 | Sustainable Sites
| Credit 4.3 |  | Alternative Transportation - Low-Emitting & Fuel Efficient Vehicles |  | 3 | Sustainable Sites
| Credit 4.4 |  | Alternative Transportation - Parking Capacity |  | 2 | Sustainable Sites
| Credit 5.1 |  | Site Development, Protect or Restore Habitat |  | 1 | Sustainable Sites
| Credit 5.2 |  | Site Development, Maximize Open Space |  | 1 | Sustainable Sites
| Credit 6.1 |  | Stormwater Design, Quantity Control (HPSB GP3) |  | 1 | Sustainable Sites
| Credit 6.2 |  | Stormwater Design, Quality Control (HPSB GP3) |  | 1 | Sustainable Sites
| Credit 7.1 |  | Heat Island Effect - Non-Roof |  | 1 | Sustainable Sites
| Credit 7.2 |  | Heat Island Effect - Roof |  | 1 | Sustainable Sites
| Credit 8 |  | Light Pollution Reduction |  | 1 | Sustainable Sites
|  |  |  | Select which LEED® Interior Lighting Option was used |  | Sustainable Sites | Light Pollution Reduction | Credit 8
Water Efficiency
Achievable Points | 0 |  |  | Possible Points | 10
| Prereq 1 |  | Water Use Reduction - 20% Reduction (HPSB GP3) |  | Required | Water Efficiency
| Credit 1 |  | Water Efficient Landscaping (HPSB GP3) |  | 2 to 4 | Water Efficiency
|  |  | 2 | Reduce Potable Water Use by 50% (HPSB GP3) | 2 | Water Efficiency | Water Efficient Landscaping (HPSB GP3) | Credit 1
|  |  | 4 | No Potable Use or Irrigation (HPSB GP3) | 2 | Water Efficiency | Water Efficient Landscaping (HPSB GP3) | Credit 1
| Credit 2 |  | Innovative Wastewater Technologies |  | 2 | Water Efficiency
| Credit 3 |  | Water Use Reduction (HPSB GP3) |  | 2 to 4 | Water Efficiency
|  |  | 2 | 30% Reduction (HPSB GP3) | 2 | Water Efficiency | Water Use Reduction (HPSB GP3) | Credit 3
|  |  | 3 | 35% Reduction (HPSB GP3) | 1 | Water Efficiency | Water Use Reduction (HPSB GP3) | Credit 3
|  |  | 4 | 40% Reduction (HPSB GP3) | 1 | Water Efficiency | Water Use Reduction (HPSB GP3) | Credit 3
Energy & Atmosphere
Achievable Points | 0 |  |  | Possible Points | 35
| Prereq 1 |  | Fundamental Commissioning of the Building Energy Systems (HPSB GP1) |  | Required | Energy & Atmosphere
| Prereq 2 |  | Minimum Energy Performance (HPSB GP2) |  | Required | Energy & Atmosphere
| Prereq 3 |  | Fundamental Refrigerant Management (HPSB GP5) |  | Required | Energy & Atmosphere
| Credit 1 |  | Optimize Energy Performance (HPSB GP2) |  | 1 to 19 | Energy & Atmosphere
|  |  | 1 | 12% for New Buildings/8% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 2 | 14% for New Buildings/10% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 3 | 16% for New Buildings/12% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 4 | 18% for New Buildings/14% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 5 | 20% for New Buildings/16% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 6 | 22% for New Buildings/18% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 7 | 24% for New Buildings/20% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 8 | 26% for New Buildings/22% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 9 | 28% for New Buildings/24% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 10 | 30% for New Buildings/26% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 11 | 32% for New Buildings/28% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 12 | 34% for New Buildings/30% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 13 | 36% for New Buildings/32% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 14 | 38% for New Buildings/34% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 15 | 40% for New Buildings/36% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 16 | 42% for New Buildings/38% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 17 | 44% for New Buildings/40% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 18 | 46% for New Buildings/42% for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
|  |  | 19 | 48%+ for New Buildings/44%+ for Existing Building Renovations | 1 | Energy & Atmosphere | Optimize Energy Performance (HPSB GP2) | Credit 1
| Credit 2 |  | On-Site Renewable Energy (HPSB GP2) |  | 1 to 7 | Energy & Atmosphere
|  |  | 1 | On-site 1% | 1 | Energy & Atmosphere | On-Site Renewable Energy (HPSB GP2) | Credit 2
|  |  | 2 | On-site 3% | 1 | Energy & Atmosphere | On-Site Renewable Energy (HPSB GP2) | Credit 2
|  |  | 3 | On-site 5% | 1 | Energy & Atmosphere | On-Site Renewable Energy (HPSB GP2) | Credit 2
|  |  | 4 | On-site 7% | 1 | Energy & Atmosphere | On-Site Renewable Energy (HPSB GP2) | Credit 2
|  |  | 5 | On-site 9% | 1 | Energy & Atmosphere | On-Site Renewable Energy (HPSB GP2) | Credit 2
|  |  | 6 | On-site 11% | 1 | Energy & Atmosphere | On-Site Renewable Energy (HPSB GP2) | Credit 2
|  |  | 7 | On-site 13% | 1 | Energy & Atmosphere | On-Site Renewable Energy (HPSB GP2) | Credit 2
| Credit 3 |  | Enhanced Commissioning (HPSB GP1) |  | 2 | Energy & Atmosphere
| Credit 4 |  | Enhanced Refrigerant Management (HPSB GP5) |  | 2 | Energy & Atmosphere
| Credit 5 |  | Measurement & Verification (HPSB GP2) |  | 3 | Energy & Atmosphere
| Credit 6 |  | Green Power |  | 2 | Energy & Atmosphere
Materials & Resources
Achievable Points | 0 |  |  | Possible Points | 14
| Prereq 1 |  | Storage & Collection of Recyclables (HPSB GP5) |  | Required | Materials & Resources
| Credit 1.1 |  | Building Reuse, Maintain Existing Walls, Floors & Roof |  | 1 to 3 | Materials & Resources
|  |  | 1 | Maintain 55% of Existing Walls, Floors & Roof | 1 | Materials & Resources | Building Reuse, Maintain Existing Walls, Floors & Roof | Credit 1.1
|  |  | 2 | Maintain 75% of Existing Walls, Floors & Roof | 1 | Materials & Resources | Building Reuse, Maintain Existing Walls, Floors & Roof | Credit 1.1
|  |  | 3 | Maintain 95% of Existing Walls, Floors & Roof | 1 | Materials & Resources | Building Reuse, Maintain Existing Walls, Floors & Roof | Credit 1.1
| Credit 1.2 |  | Building Reuse, Maintain 50% of Interior Non-Structural Elements |  | 1 | Materials & Resources
| Credit 2 |  | Construction Waste Management (HPSB GP5) |  | 1 to 2 | Materials & Resources
|  |  | 1 | 50% Recycled or Salvaged | 1 | Materials & Resources | Construction Waste Management (HPSB GP5) | Credit 2
|  |  | 2 | 75% Recycled or Salvaged | 1 | Materials & Resources | Construction Waste Management (HPSB GP5) | Credit 2
| Credit 3 |  | Materials Reuse |  | 1 to 2 | Materials & Resources
|  |  | 1 | 5% | 1 | Materials & Resources | Materials Reuse | Credit 3
|  |  | 2 | 10% | 1 | Materials & Resources | Materials Reuse | Credit 3
| Credit 4 |  | Recycled Content (HPSB GP5) |  | 1 to 2 | Materials & Resources
|  |  | 1 | 10% | 1 | Materials & Resources | Recycled Content (HPSB GP5) | Credit 4
|  |  | 2 | 20% | 1 | Materials & Resources | Recycled Content (HPSB GP5) | Credit 4
| Credit 5 |  | Regional Materials |  | 1 to 2 | Materials & Resources
|  |  | 1 | 10% Extracted, Processed & Manufactured | 1 | Materials & Resources | Regional Materials | Credit 5
|  |  | 2 | 20% Extracted, Processed & Manufactured | 1 | Materials & Resources | Regional Materials | Credit 5
| Credit 6 |  | Rapidly Renewable Materials (HPSB GP5) |  | 1 | Materials & Resources
| Credit 7 |  | Certified Wood (HPSB GP5) |  | 1 | Materials & Resources
Indoor Environmental Quality
Achievable Points | 0 |  |  | Possible Points | 15
| Prereq 1 |  | Minimum IAQ Performance (HPSB GP4) |  | Required | Indoor Environmental Quality
| Prereq 2 |  | Environmental Tobacco Smoke (ETS) Control (HPSB GP4) |  | Required | Indoor Environmental Quality
| Credit 1 |  | Outside Air Delivery Monitoring |  | 1 | Indoor Environmental Quality
| Credit 2 |  | Increased Ventilation |  | 1 | Indoor Environmental Quality
| Credit 3.1 |  | Construction IAQ Management Plan, During Construction (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 3.2 |  | Construction IAQ Management Plan, Before Occupancy (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 4.1 |  | Low Emitting Materials, Adhesives & Sealants (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 4.2 |  | Low Emitting Materials, Paints & Coatings (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 4.3 |  | Low Emitting Materials, Flooring Systems (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 4.4 |  | Low Emitting Materials, Composite Wood & Agrifiber Products (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 5 |  | Indoor Chemical & Pollutant Source Control |  | 1 | Indoor Environmental Quality
| Credit 6.1 |  | Controllability of Systems, Lighting (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 6.2 |  | Controllability of Systems, Thermal Comfort |  | 1 | Indoor Environmental Quality
| Credit 7.1 |  | Thermal Comfort, Design (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 7.2 |  | Thermal Comfort, Verification |  | 1 | Indoor Environmental Quality
| Credit 8.1 |  | Daylight & Views - Daylight 75% of Spaces (HPSB GP4) |  | 1 | Indoor Environmental Quality
| Credit 8.2 |  | Daylight & Views - Views for 90% of Spaces |  | 1 | Indoor Environmental Quality
Innovation & Design Process
Achievable Points | 0 |  |  | Possible Points | 6
| Credit 1.1 |  | Innovation in Design 1.1 |  | 1 | Innovation & Design Process
|  |  |  | Select if ID 1.1 was for energy and/or water |  | Innovation & Design Process | Innovation in Design 1.1 | Credit 1.1
| Credit 1.2 |  | Innovation in Design 1.2 |  | 1 | Innovation & Design Process
|  |  |  | Select if ID 1.2 was for energy and/or water |  | Innovation & Design Process | Innovation in Design 1.2 | Credit 1.2
| Credit 1.3 |  | Innovation in Design 1.3 |  | 1 | Innovation & Design Process
|  |  |  | Select if ID 1.3 was for energy and/or water |  | Innovation & Design Process | Innovation in Design 1.3 | Credit 1.3
| Credit 1.4 |  | Innovation in Design 1.4 |  | 1 | Innovation & Design Process
|  |  |  | Select if ID 1.4 was for energy and/or water |  | Innovation & Design Process | Innovation in Design 1.4 | Credit 1.4
| Credit 1.5 |  | Innovation in Design 1.5 |  | 1 | Innovation & Design Process
|  |  |  | Select if ID 1.5 was for energy and/or water |  | Innovation & Design Process | Innovation in Design 1.5 | Credit 1.5
| Credit 2 |  | LEED® Accredited Professional |  | 1 | Innovation & Design Process
Regional Priority Credits
Achievable Points | 0 |  |  | Possible Points | 4
| Credit 1.1 |  | Regional Priority 1.1 |  | 1 | Regional Priority Credits
|  |  |  | Select if RP 1.1 was for energy and/or water |  | Regional Priority Credits | Regional Priority 1.1 | Credit 1.1
| Credit 1.2 |  | Regional Priority 1.2 |  | 1 | Regional Priority Credits
|  |  |  | Select if RP 1.2 was for energy and/or water |  | Regional Priority Credits | Regional Priority 1.2 | Credit 1.2
| Credit 1.3 |  | Regional Priority 1.3 |  | 1 | Regional Priority Credits
|  |  |  | Select if RP 1.3 was for energy and/or water |  | Regional Priority Credits | Regional Priority 1.3 | Credit 1.3
| Credit 1.4 |  | Regional Priority 1.4 |  | 1 | Regional Priority Credits
|  |  |  | Select if RP 1.4 was for energy and/or water |  | Regional Priority Credits | Regional Priority 1.4 | Credit 1.4
LEED Project Totals (pre-certification estimates) |  |  |  | Possible Points | 110
0 | LEED® Credits Achievable | [7 empty] | SurveyResult
0 | LEED® Credits Maybe Achievable | [7 empty] | SurveyResult
0 | LEED® Credits Not Achievable | [7 empty] | SurveyResult
0 | LEED® Prerequisites Achievable (out of 8) | [7 empty] | SurveyResult
0 | LEED® Prerequisites Achievable - Industrial (out of 7) | [7 empty] | SurveyResult
0 | LEED® Energy and Water Credits Achievable
0 | LEED® Energy and Water Credits Achievable | [7 empty] | SurveyResult
0 | Innovation and Design Energy and Water Credits Achievable | [7 empty] | SurveyResult
0 | Regional Priority Energy and Water Credits Achievable | [7 empty] | SurveyResult
Certified: 40-49 points, Silver: 50-59 points, Gold: 60-79 points, Platinum: 80-110

## HELP
High Performance Sustainable Building Requirements and LEED® 2009 References |  | Links | Fuel Conversions | Unit | Btu/unit | kBtu
| The High Performance Sustainable Building Requirements (Dec 08) described below are also found on the FedCenter website: | High Performance Sustainable Building Guidance (Dec 08) | # 2 Fuel Oil | gallon (US) | 139000 | 139
| For more information on LEED® Credits that meet or align closely with federal requirements as well as other credits a building can pursue towards the Silver certification level, review the LEED® New Construction and Major Renovations 2009 Rating System: | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008 | # 6 Fuel Oil | gallon (US) | 150000 | 150
Color Code | LEED® Credits and/or Prerequisites that align closely with Federal High Performance Sustainable Buildings (HPSB) Requirements These credits and/or prerequisites align closely with the associated HPSB Guiding Principle. They could be either more or less stringent or have different measurement metrics. In the case where one is more stringent than the other, achieving the more stringent one does not imply the less stringent is achieved. |  | Coal - Anthracite | ton | 15200000 | 15200
| LEED® Credits and/or Prerequisites that meet Federal High Performance Sustainable Buildings (HPSB) Requirements These credits and/or prerequisites have the same requirements as the associated HPSB Guiding Principle. This does not guarantee achieving the LEED Credit, as some documentation methods may vary. |  | Coal - Bituminous Low Volatile | ton | 22000000 | 22000
| Recommended (Federal Requirement not fully defined at this time) |  | Coal - High Volatile | ton | 28600000 | 28600
| LEED® Credits that meet Energy & Water Criteria (may depend on technologies & strategies). The DoD Sustainable Buildings Policy and AF Sustainable Design and Development Memorandum require a minimum of 20 energy and water credits for all projects seeking LEED certification. SS Credits 7.1-7.2, WE Credits 1.1 - 3, EA Credits 1-3 and Credits 5-6, IEQ Credit 1 and Credit 8.1 are always energy and water projects according to AF policy. SS Credit 8 is an energy and water credit if the project uses Option 1 for Indoor Lighting. Innovation and Design and Regional Priority Credits must be specified as energy and water projects for inclusion. |  | Coal - Lignite (Brown Coal) | ton | 13800000 | 13800
| HPSB I: Employ Integrated Design Principles |  | District Steam (Secondary) | pound | 1000 | 1
HPSB I.1: Integrated Design | Use a collaborative, integrated planning and design process that • Initiates and maintains an integrated project team as described on the Whole Building Design Guide in all stages of a project's planning and delivery, http://www.wbdg.org/design/engage_process.php • Integrates the use of OMB’s A-11, Section 7, Exhibit 300: Capital Asset Plan and Business Case Summary • Establishes performance goals for siting, energy, water, materials, and indoor environmental quality along with other comprehensive design goals and ensures incorporation of these goals throughout the design and lifecycle of the building • Considers all stages of the building's lifecycle, including deconstruction. | HPSB Guidance | District Steam (Secondary) | Kilo-pound | 1000000 | 1000
Requirement Source Document(s) | Federal Leadership in High Performance and Sustainable Buildings MOU |  | Electricity | kwh | 3412 | 3.412
LEED Credit(s) aligns closely with HPSB: | None |  | Natural Gas (Dth) | dekatherm | 1000000 | 1000
LEED Credit(s) meet HPSB: | None |  | Natural Gas | cubic feet | 1034 | 1.034
HPSB I.2: Commissioning | Employ commissioning practices tailored to the size and complexity of the building and its system components in order to verify performance of building components and systems and help ensure that design requirements are met. This should include an experienced commissioning provider, inclusion of commissioning requirements in construction documents, a commissioning plan, verification of the installation and performance of systems to be commissioned, and a commissioning report. | HPSB Guidance | Propane (LP Gas) | gallon (US) | 91600 | 92
Requirement Source Document(s) | Federal Leadership in High Performance and Sustainable Buildings MOU |  | Propane (LP Gas) | pound | 21698 | 22
LEED Credit(s) aligns closely with HPSB: | LEED EA Prerequisite 1: Fundamental Commissioning of Building Energy Systems LEED EA Credit 3: Enhanced Commissioning | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB II: Optimize Energy Performance
HPSB II.1: Energy Efficiency. | For new construction, reduce the energy use by 30 percent compared to the baseline building performance rating per the American National Standards Institute (ANSI)/American Society of Heating, Refrigerating and Air-Conditioning Engineers, Inc., (ASHRAE)/Illuminating Engineering Society of North America (IESNA) Standard 90.1-2007, Energy Standard for Buildings Except Low-Rise Residential, except for the performance rating formula in G1.2, which should be used as follows (from 10 CFR 433.5): Percentage improvement = 100 x (Baseline building consumption—Proposed building consumption) ÷(Baseline building consumption—Receptacle and process loads). This differs from the LEED calculation. For major renovations, reduce the energy use by 20 percent below pre-renovations 2003 baseline. Laboratory spaces may use the Labs21 Laboratory Modeling Guidelines. ENERGY STAR qualified low-slope roofs (2:12 inches or less) have an intial solar reflectance greater than or equal to 0.65 and is greater than or equal to 0.50 three years after installation. Steep slope roofs (greater than 2:12 inches) have an intial solar reflectance greater than or equal to 0.25 and is greater than or equal to 0.15 three years after installation | HPSB Guidance
Requirement Source Document(s) | 10 CFR 433.5, Federal Leadership in High Performance and Sustainable Buildings MOU | GPO Access: 10 CFR 433.5
LEED Credit(s) aligns closely with HPSB: | LEED EA Prerequisite 2: Minimum Energy Performance LEED EA Credit 1: Optimize Energy Performance | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB II.2: Preferential use of ENERGY STAR or FEMP-designated equipment, when lifecycle cost effective | Use ENERGY STAR® and FEMP-designated Energy Efficient Products, where available. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
HPSB II.3: On-site Renewable Energy - Solar Hot Water Heater System | Per the Energy Independence and Security Act (EISA) Section 523, meet at least 30% of the hot water demand through the installation of solar hot water heaters, when lifecycle cost effective. | HPSB Guidance
Requirement Source Document(s): | EISA Sec. 523, Federal Leadership in High Performance and Sustainable Buildings MOU | Energy Independence and Security Act of 2007
LEED Credit(s) aligns closely with HPSB: | LEED EA Credit 2: On-Site Renewable Energy | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB II.4: On-site Renewable Energy | Per Executive Order 13423, implement renewable energy generation projects on agency property for agency use, when lifecycle cost effective. Renewable energy types include: Geothermal, GSHP, Solar PV, Solar CP, Solar Thermal, Wind, Hydro, Daylighting, Waste to Energy. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | LEED EA Credit 2: On-Site Renewable Energy | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB II.5: Measurement and Verification - Advanced Metering | Per the Energy Policy Act of 2005 (EPAct) Section 103, install building level electricity meters in new major construction and renovation projects to track and continuously optimize performance. Per EISA Section 434, include equivalent meters for natural gas and steam, where natural gas and steam are used. Per A7C Memorandum, DoD Facilities Metering Installation Initiative (27 April 2006), all new construction should install potable water meters. | HPSB Guidance
Requirement Source Document(s): | EPAct 2005 Section 103, EISA 2007 Section 434, Federal Leadership in High Performance and Sustainable Buildings MOU | Energy Policy Act of 2005
LEED Credit(s) aligns closely with HPSB: | LEED EA Credit 5: Measurement and Verification | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB II.6: Project Case Study Entered in High Performance Federal Buildings Database | As a recommendation, enter data and lessons learned from sustainable buildings into the High Performance Buildings Database. | HPSB MOU
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU | http://femp.buildinggreen.com/
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
EISA 2007 II.7: Reduction in fossil fuel-generated energy consumption | For new Federal buildings and Federal buildings undergoing major renovations…(I) The buildings shall be designed so that the fossil fuel generated energy consumption of the buildings is reduced, as compared with such energy consumption by a similar building in fiscal year 2003 (CBECS or RECS data from EIA), by the percentage specified...FY2010 (55%), 2015 (65%), 2020 (80%), 2025 (90%), and 2030 (100%). The DOE Rulemaking is not yet complete | Energy Independence and Security Act of 2007
Requirement Source Document(s): | EISA 2007, Sec. 433, (a)(D)(i)
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
EISA 2007 II.8: Data Center Energy Consumption | EISA 2007 Section 453 directs DOE and EPA to initiate a voluntary national information program for widely used data centers and data center equipment for which there is significant potential for energy savings. The DOE/EPA guidance is not yet issued. | Energy Independence and Security Act of 2007
Requirement Source Document(s): | EISA 2007, Sec. 453
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
HPSB III: Protect and Conserve Water
HPSB III.1: Indoor Water - 20% Reduction | Employ strategies that in aggregate use a minimum of 20 percent less potable water than the indoor water use baseline calculated for the building, after meeting the EPAct 1992, Uniform Plumbing Codes 2006, and the International Plumbing Codes 2006 fixture performance requirements. The installation of water meters is encouraged to allow for the management of water use during occupancy. The use of harvested rainwater, treated wastewater, and air conditioner condensate should also be considered and used where feasible for nonpotable use and potable use where allowed. | HPSB Guidance
Requirement Source Document(s): | EPAct 1992, Federal Leadership in High Performance and Sustainable Buildings MOU | THOMAS EPAct 1992
LEED Credit(s) aligns closely with HPSB: | LEED WE Credit 3: Water Use Reduction - Reduce by 30% (3.1), 35% (3.2), 40% (3.3)
LEED Credit(s) meet HPSB: | LEED WE Prerequisite 1: Water Use Reduction - 20% Reduction | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
HPSB III.2: Outdoor Water - Reduce Potable Water Use by 50% | Use water efficient landscape and irrigation strategies, such as water reuse, recycling, and the use of harvested rainwater, to reduce outdoor potable water consumption by a minimum of 50 percent over that consumed by conventional means (plant species and plant densities). The installation of water meters for locations with significant outdoor water use is encouraged. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | LEED WE Credit 1.2: Water Efficient Landscaping - No Potable Water Use or Irrigation
LEED Credit(s) meet HPSB: | LEED WE Credit 1.1: Water Efficient Landscaping - Reduce by 50% | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
HPSB III.3: Outdoor Water - Stormwater runoff | Employ design and construction strategies that reduce storm water runoff and discharges of polluted water offsite. | HPSB Guidance
Requirement Source Document(s): | AF ETL 03-1, Federal Leadership in High Performance and Sustainable Buildings MOU | Engineering Technical Letter (ETL) 03-1 - Stormwater Construction Standards
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | LEED SS Prerequisite 1: Construction Activity Pollution Prevention | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
HPSB III.4: Outdoor Water - Achieve Pre-Development Hydrology when technically feasible, when disturbance > 5,000 GSF | Per EISA Section 438, to the maximum extent technically feasible, maintain or restore the predevelopment hydrology of the site with regard to temperature, rate, volume, and duration of flow using site planning, design, construction, and maintenance strategies. | HPSB Guidance
Requirement Source Document(s): | OUSD Memo 19 Jan 2010, EISA 2007 Sec 438, Federal Leadership in High Performance and Sustainable Buildings MOU | OUSD Memo EISA Section 438
LEED Credit(s) aligns closely with HPSB: | LEED SS Credit 6.1: Stormwater Design - Quantity Control LEED SS Credit 6.2: Stormwater Design - Quality Control | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB:
HPSB III.5: Process water - potable water use | Per the Energy Policy Act of 2005 Section 109, when potable water is used to improve a building’s energy efficiency, deploy lifecycle cost effective water conservation measures. | HPSB Guidance
Requirement Source Document(s): | EPAct 2005, Sec. 109, Federal Leadership in High Performance and Sustainable Buildings MOU | Energy Policy Act of 2005
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
HPSB III.6: Water-Efficient Products | Specify EPA’s WaterSense-labeled products or other water conserving products, where available. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
HPSB III.7: Water Efficient Products - Irrigation Contractors | Choose irrigation contractors who are certified through a WaterSense labeled program. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
HPSB IV: Enhance Indoor Environmental Quality
HPSB IV.1: Thermal Comfort, ASHRAE 55-2004 | Meet ASHRAE Standard 55-2004, Thermal Environmental Conditions for Human Occupancy, including continuous humidity control within established ranges per climate zone. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | LEED EQ Credit 7: Thermal Comfort - Design | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
HPSB IV.2: Ventilation: ASHRAE 62.1-2007 | Meet ASHRAE Standard 62.1-2007, Ventilation for Acceptable Indoor Air Quality. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | LEED EQ Prerequisite 1: Minimum Indoor Air Quality Performance | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
HPSB IV.3: Moisture Control | Establish and implement a moisture control strategy for controlling moisture flows and condensation to prevent building damage, minimize mold contamination, and reduce health risks related to moisture. | HPSB Guidance
Requirement Source Document(s): | ETL 04-3: Design Criteria for Prevention of Mold in Air Force Facilities (Achieves HPSB GP4, Moisture Control), Federal Leadership in High Performance and Sustainable Buildings MOU | AF ETL 04-3
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
HPSB IV.4: Daylighting - 75% of Spaces | Achieve a minimum daylight factor of 2 percent (excluding all direct sunlight penetration) in 75 percent of all space occupied for critical visual tasks. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | LEED EQ Credit 8.1: Daylight and Views - Daylight | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB IV.5: Daylighting - Controllability of Systems | Provide automatic dimming controls or accessible manual lighting controls, and appropriate glare control. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | LEED EQ Credit 6.1: Controllability of Systems - Lighting | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB IV.6: Low Emitting Materials | Specify materials and products with low pollutant emissions, including composite wood products, adhesives, sealants, interior paints and finishes, carpet systems, and furnishings. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | LEED EQ Credits 4.1-4.4: Low-Emitting Materials - Adhesives and Sealants (4.1), Paints and Coatings (4.2), Flooring Systems (4.3), and Composite Wood and Agrifiber Products (4.4) | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB IV.7: Protect Indoor Air Quality during Construction | Follow the recommended approach of the Sheet Metal and Air Conditioning Contractor's National Association Indoor Air Quality Guidelines for Occupied Buildings under Construction, 2007. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | LEED EQ Credit 3.1: Construction Indoor Air Quality Management Plan - During Occupancy | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB IV.8: Protect Indoor Air Quality after Construction | After construction and prior to occupancy, conduct a minimum 72-hour flush-out with maximum outdoor air consistent with achieving relative humidity no greater than 60 percent. After occupancy, continue flush-out as necessary to minimize exposure to contaminants from new building materials. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | LEED EQ Credit 3.2: Construction Indoor Air Quality Management Plan - Before Occupancy | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB IV.9: Environmental Tobacco Smoke (ETS) Control | Implement a policy and post signage indicating that smoking is prohibited within the building and within 25 feet of all building entrances, operable windows, and building ventilation intakes during building occupancy. | HPSB Guidance
Requirement Source Document(s): | GSA Federal Register: December 22, 2008 (Volume 73, Number 246), Federal Leadership in High Performance and Sustainable Buildings MOU | Federal Register - Protecting Federal Employees from Environmental Tobacco Smoke
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | LEED EQ Prerequisite 2: Environmental Tobacco Smoke (ETS) Control | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
HPSB V: Reduce Environmental Impact of Materials
HPSB V.1: Recycled Content | Per Section 6002 of the Resource Conservation and Recovery Act (RCRA), for EPA-designated products, specify products meeting or exceeding EPA's recycled content recommendations. For other products, specify materials with recycled content when practicable. If EPA-designated products meet performance requirements and are available at a reasonable cost, a preference for purchasing them shall be included in all solicitations relevant to construction, operation, maintenance of or use in the building. | EPA's Comprehensive Procurement Guideline Website
Requirement Source Document(s): | RCRA 2002, Sec 6002, Federal Leadership in High Performance and Sustainable Buildings MOU | RCRA 2002
LEED Credit(s) aligns closely with HPSB: | LEED MR Credit 4.1-4.2: Recycled Content - 10% of Content (4.1), 20% of Content (4.2) | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB V.2: Biobased Content | Per Section 9002 of the Farm Security and Rural Investment Act (FSRIA), for USDA-designated products, specify products with the highest content level per USDA's biobased content recommendations. For other products, specify biobased products made from rapidly renewable resources and certified sustainable wood products. If these designated products meet performance requirements and are available at a reasonable cost, a preference for purchasing them shall be included in all solicitations relevant to construction, operation, maintenance of or use in the building. | USDA's Biopreferred Website
Requirement Source Document(s): | FSRIA 2002 Section 9002, Federal Leadership in High Performance and Sustainable Buildings MOU | FSRIA 2002
LEED Credit(s) aligns closely with HPSB: | LEED MR Credit 6: Rapidly Renewable Materials LEED MR Credit 7: Certified Wood | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | None
HPSB V.3: Environmentally Preferable Products | Use products that have a lesser or reduced effect on human health and the environment over their lifecycle when compared with competing products or services that serve the same purpose. A number of standards and ecolabels are available in the marketplace to assist specifiers in making environmentally preferable decisions. | WBDG Federal Green Construction Guide
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | None
HPSB V.4: Waste and Materials Management - Recycling | Incorporate adequate space, equipment, and transport accommodations for recycling in the building design. | HPSB Guidance
Requirement Source Document(s): | EO 13423, Sec 2(e), Federal Leadership in High Performance and Sustainable Buildings MOU | Executive Order 13423
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | LEED MR Prerequisite 1: Storage and Collection of Recyclables | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
HPSB V.5: Waste and Materials Management, Divert 50% from Disposal | During a project's planning stage, identify local recycling and salvage operations that could process site-related construction and demolition materials. Provide salvage, reuse and recycling services for waste generated from major renovations, where markets or onsite recycling opportunities exist. During construction, recycle or salvage at least 50 percent of the non-hazardous construction, demolition and land clearing materials, excluding soil, where markets or onsite recycling opportunities exist. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | None
LEED Credit(s) meet HPSB: | LEED MR Credit 2.1: Construction Waste Management | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
HPSB V.6: Ozone Depleting Compounds | Eliminate the use of ozone depleting compounds during and after construction where alternative environmentally preferable products are available, consistent with either the Montreal Protocol and Title VI of the Clean Air Act Amendments of 1990, or equivalent overall air quality benefits that take into account lifecycle impacts. | HPSB Guidance
Requirement Source Document(s): | Federal Leadership in High Performance and Sustainable Buildings MOU
LEED Credit(s) aligns closely with HPSB: | LEED EA Credit 4: Enhanced Refrigerant Management | LEED(R) for New Construction & Major Renovations 2009 - Nov 2008
LEED Credit(s) meet HPSB: | LEED EA Prerequisite 3: Fundamental Refrigerant Management